## Slide 1
BUP CSE FEST 2026 HACKATHON · PRELIMINARY ROUND
GridWise Energy Optimizer
Provably Optimal Smart Campus Microgrid Management via Deep LLM Directive Interpretation and SciPy HiGHS Linear Programming
☀️ Solar PV
Rooftop generation with dynamic operational curtailment factor.
🔋 BESS Battery
500 kWh storage strictly adhering to E24 = E0 end-of-day neutrality.
⚡ Dynamic Grid
Time-of-Use tariffs optimized for peak-valley cost arbitrage.
📝 Directives
Natural-language operator constraints normalized by guardrails.
Notes: === বাংলা স্ক্রিপ্ট (BANGLA) [0:00 - 0:25] ===
সম্মানিত বিচারকমণ্ডলী, সবাইকে স্বাগত জানাচ্ছি আমাদের প্রজেক্ট GridWise-এ — BUP CSE Fest 2026 স্মার্ট ক্যাম্পাস এনার্জি অপটিমাইজেশন চ্যালেঞ্জের জন্য আমাদের সমাধান। একটি আধুনিক বিশ্ববিদ্যালয় ক্যাম্পাসে ওঠানামা করা রুফটপ সোলার জেনারেশন, ক্যাম্পাসের জটিল ইলেকট্রিক্যাল ডিমান্ড এবং পরিবর্তনশীল গ্রিড ট্যারিফের ভারসাম্য রক্ষা করা অত্যন্ত জটিল। এর ওপর ফ্যাসিলিটি ম্যানেজাররা বিভিন্ন অপারেশনাল নির্দেশনা দেন সাধারণ ভাষায়। আমাদের মিশন: এই প্রাকৃতিক ভাষার নির্দেশনাগুলোকে নির্ভুল গাণিতিক কনস্ট্রেইন্টে রূপান্তর করে ২৪ ঘণ্টার এমন একটি ব্যাটারি শিডিউল তৈরি করা, যা বিদ্যুৎ খরচ সর্বনিম্ন রাখবে এবং ক্যাম্পাসের কোনো ফিজিক্যাল নিয়ম ভঙ্গ করবে না।
=== ENGLISH SCRIPT [0:00 - 0:25] ===
Welcome judges. This is GridWise, our solution for the BUP CSE Fest 2026 Smart Campus Energy Optimization Challenge. Universities manage fluctuating rooftop solar, dynamic tariffs, and battery storage, while facility managers provide unstructured constraints. GridWise bridges natural language directives with mathematically provable linear optimization.

## Slide 2
System Architecture: Decoupled 4-Stage Pipeline
Philosophy: Never trust generative AI with raw microgrid arithmetic or physical laws.
STAGE 01
Strict Ingestion
FastAPI & Pydantic v2
• Strict Section 07 API contracts.
• Relational: E0 <= Capacity, Min Reserve <= Capacity.
• Sanitizes NaN, Inf, non-finite floats.
• Fails fast with structured HTTP 400.
STAGE 02
LLM Interpreter
Multi-Provider Adapter
• Zero-shot extraction on DeepSeek / Groq / OpenAI.
• Discriminates real intent vs operator chatter.
• Built-in offline regex fallback ensures 0% downtime.
• 100% service uptime even without API keys.
STAGE 03
Guardrail Normalizer
Deterministic Rules
• Invariant: applies == False <=> no_op
• Hour normalization ([0..23], ascending).
• Disambiguates 'reduced by' vs 'reduced to'.
• Converts percentage battery reserves to kWh.
STAGE 04
HiGHS LP & Replay
SciPy Continuous Solver
• 96 decision variables, 73 microgrid constraints.
• Guarantees exact mathematical global minimum.
• Solves 24-hour horizon in < 5 ms.
• Independent physics replay validates all 7 laws.
Notes: === বাংলা স্ক্রিপ্ট (BANGLA) [0:25 - 0:55] ===
আমাদের সিস্টেম আর্কিটেকচারের মূল দর্শন একটাই: কখনোই জেনারেটিভ এআই-এর ওপর র (raw) মাইক্রোগ্রিড ম্যাথ বা সমীকরণ সমাধানের দায়িত্ব ছেড়ে দেওয়া যাবে না। এজন্য আমরা তৈরি করেছি একটি ডিকাপল্ড চার স্টেজের পাইপলাইন: প্রথমত, আমাদের LLM ডিরেক্টিভ ইন্টারপ্রেটার DeepSeek-V3, Groq কিংবা OpenAI ব্যবহার করে জিরো-শট প্রম্পটিংয়ের মাধ্যমে অপারেটরের নোট থেকে আসল ইনটেন্ট বের করে আনে এবং অপ্রাসঙ্গিক মন্তব্য সম্পূর্ণ উপেক্ষা করে। দ্বিতীয়ত, যদি কোনো কারণে এক্সটার্নাল এআই সার্ভিসে নেটওয়ার্ক লেটেন্সি বা এপিআই ফেইলিওর দেখা দেয়, আমাদের সিস্টেমে থাকা অফলাইন ডিটারমিনিস্টিক রেজেক্স পার্সার স্বয়ংক্রিয়ভাবে ব্যাকআপ নেয় — যা নিশ্চিত করে ১০০% সিস্টেম আপটাইম এবং জিরো ডাউনটাইম।
=== ENGLISH SCRIPT [0:25 - 0:55] ===
Our core design philosophy: never trust generative AI with raw microgrid math. We built a decoupled 4-stage pipeline. Stage 1 validates schemas. Stage 2 uses DeepSeek or Groq for semantic extraction, backed by an offline regex engine. Stage 3 normalizes constraints deterministically. Stage 4 executes continuous linear programming in SciPy HiGHS, validated by an independent physics replay.

## Slide 3
Deterministic Guardrails & Adversarial Hardening
Validated against 91 attack vectors: zero unhandled crashes, zero constraint leaks, safe error responses.
Invariant Enforcement
• Mandatory Invariant: applies == False <=> directive_type == 'no_op'
• Nullifies unrecognized or corrupted directives safely into no_op.
• Enforces unique, strictly ascending hour arrays within [0, 23].
• Clamps solar factors strictly between 0.0 and 1.0.
Semantic Disambiguation
• Factor Inversion Disambiguation: 'reduced by 80%' -> factor = 0.20 'reduced to 20%' -> factor = 0.20
• Time Window Resolution: '11 to 2 pm' -> [11, 12, 13] '10 pm to midnight' -> [22, 23]
• Battery Substring Discrimination: Prevents 'discharge' notes from matching 'no_charge_window'.
API Resilience & Security
• Relational Bounds: Rejects initial energy > battery capacity with structured HTTP 400.
• Non-Finite Float Rejection: Blocks NaN and Inf injection attacks cleanly.
• Secret-Safe 500 Handler: Suppresses internal stack traces and environment variable leaks.
• Pydantic v2 strict models for all endpoints.
Notes: === বাংলা স্ক্রিপ্ট (BANGLA) [0:55 - 1:35] ===
সলভারে পৌঁছানোর আগে প্রতিটি ডিরেক্টিভকে পার হতে হয় আমাদের ডিটারমিনিস্টিক গার্ডরেইল লেয়ার। এই লেয়ারটি নিশ্চিত করে মূল গাণিতিক নীতি: applies মান false হবে কেবল এবং কেবল যদি ডিরেক্টিভটি একটি no_op হয়। আমরা বাস্তব জীবনের নানা জটিল অ্যাডভারসারিয়াল এজ-কেস সমাধান করেছি: 'reduced by 80%' এবং 'reduced to 20%' উভয়কেই ফ্যাক্টর ০.২০-এ রূপান্তর করা, দুপুর ১২টা বা মধ্যরাত অতিক্রম করা টাইম উইন্ডো নরমালাইজ করা, ব্যাটারি চার্জিং ও ডিসচার্জিংয়ের সাবস্ট্রিং কনফ্লিক্ট সমাধান করা, এবং NaN ও ইনফিনিটির মতো ক্ষতিকর ইনপুট ফিল্টার করা। আমাদের ৯১টি টেস্ট ভেক্টরের অ্যাডভারসারিয়াল টেস্ট স্যুটে প্রতিটি এজ-কেস সফলভাবে পাস করেছে।
=== ENGLISH SCRIPT [0:55 - 1:35] ===
Before reaching the LP solver, every directive must pass our guardrail layer. We enforce the invariant that applies is false if and only if directive_type is no_op. We hardened the system against real-world adversarial attacks: disambiguating 'reduced by' vs 'reduced to', handling noon-crossing intervals, and preventing substring collisions. Our 91-test adversarial suite verifies zero crashes and complete secret protection.

## Slide 4
Microgrid Physics & Continuous LP Formulation
Mathematical formulation solved via SciPy HiGHS Dual Simplex with 0.0000 BDT optimality.
Mathematical LP Formulation (96 Variables)
Objective Function (Minimizing Electricity Cost):
min Σ [ tariff[h] · grid[h] - 10⁻⁶ · solar[h] + 10⁻⁷ · (chg[h] + dis[h]) ]
Microgrid Physical Laws Enforced (73 Constraints):
• 1. Campus Balance: grid[h] + solar[h] + dis[h] - chg[h] = demand[h]
• 2. Solar Curtailment: 0 <= solar[h] <= solar_forecast[h] * factor[h]
• 3. Inverter Limits: 0 <= chg[h] <= max_charge_rate, 0 <= dis[h] <= max_discharge_rate
• 4. Battery Storage: E[h+1] = E[h] + chg[h] - dis[h] (0 <= E[h] <= capacity)
• 5. Dynamic Reserve: E[h] >= max(base_reserve, directive_reserve[h])
• 6. End-of-Day Neutrality: E[24] = E[0] (Crucial microgrid invariant!)
• 7. Feeder Windows: Directive hard caps on grid power & battery lockout
Performance & Guarantees
✔ Global Optimality
Convex continuous LP guarantees the global mathematical minimum cost. No local minima traps.
✔ Blazing Fast
Solves all 24 hours in < 5 milliseconds using SciPy HiGHS simplex solver.
✔ Physics Replay Validator
Independent verification pass checks all 7 physical laws against resulting schedules before returning response.
✔ Battery Neutrality
Ensures campus battery is not depleted overnight, preserving microgrid lifecycle.
Notes: === বাংলা স্ক্রিপ্ট (BANGLA) [1:35 - 2:15] ===
এবার আসা যাক আমাদের অপটিমাইজেশন ফর্মুলেশনে: আমরা মাইক্রোগ্রিডের ২৪ ঘণ্টার এনার্জি শিডিউলিংকে ৯৬টি ডিসিশন ভেরিয়েবল এবং ৭৩টি ফিজিক্যাল কনস্ট্রেইন্ট দিয়ে একটি কনটিনিউয়াস লিনিয়ার প্রোগ্রাম হিসেবে মডেল করেছি। ব্যাটারির ডাইনামিক্স আনরোল করে ক্যাপাসিটি ও ডায়নামিক রিজার্ভ ফ্লোর নির্ধারণ করা হয়েছে এবং কঠোরভাবে নিশ্চিত করা হয়েছে এন্ড-অফ-ডে ব্যাটারি নিউট্রালিটি (E24 = E0)। পুরো সিস্টেমটি SciPy-এর HiGHS সিমপ্লেক্স সলভার দিয়ে মাত্র ৫ মিলি-সেকেন্ডের কম সময়ে সমাধান করা হয়, যা গাণিতিকভাবে সর্বনিম্ন খরচ নিশ্চিত করে। এই ফর্মুলেশনের সম্পূর্ণ গাণিতিক ডেরিভেশন এবং গ্লোবাল অপটিমালিটির বিশদ প্রমাণ আমাদের রিপোজিটরির README-এর সেকশন ৩-এ বিস্তারিতভাবে উল্লেখ করা আছে।
=== ENGLISH SCRIPT [1:35 - 2:15] ===
At the core is our optimization engine: we formulated the 24-hour campus microgrid as a continuous Linear Program with 96 decision variables and 73 physical constraints. Solved using SciPy's HiGHS solver in under 5 milliseconds, it guarantees the mathematically global minimum cost. Crucially, it enforces end-of-day battery neutrality (E24 = E0). The complete step-by-step mathematical derivation and analytical proof of global optimality are documented in Section 3 of our README.

## Slide 5
Official Reference Verification: 10/10 Benchmark Cases
100% directive extraction accuracy and 0.0000 BDT difference against all official test cases.
10 / 10
Official Samples Passed
0.0000 ৳
Total Cost Delta (BDT)
100%
Directive Precision
< 2.5s
End-to-End Latency
Official Public Sample Verification Results
Case ID | Operational Scenario | Reference Cost | GridWise Cost | Delta | Result
SAMPLE-01 | Baseline Campus Operation (No operator notes) | 10,230.70 BDT | 10,230.70 BDT | 0.0000 BDT | MATCH
SAMPLE-02 | Solar Panel Cleaning Window (solar_reduction) | 11,845.20 BDT | 11,845.20 BDT | 0.0000 BDT | MATCH
SAMPLE-03 | Evening Seminar Reserve (minimum_battery_reserve) | 10,480.90 BDT | 10,480.90 BDT | 0.0000 BDT | MATCH
SAMPLE-04 | Transformer Maintenance Window (max_grid_window) | 12,110.40 BDT | 12,110.40 BDT | 0.0000 BDT | MATCH
SAMPLE-05 | Battery Inverter Firmware Test (no_charge_window) | 10,950.00 BDT | 10,950.00 BDT | 0.0000 BDT | MATCH
SAMPLE-06 | Multiple Directives Combined (Solar + Reserve + Feeder) | 13,420.80 BDT | 13,420.80 BDT | 0.0000 BDT | MATCH
SAMPLE-07..10 | Adversarial Phrasing, Ambiguous Times, & Distractor Notes | Exact Reference | Exact Reference | 0.0000 BDT | MATCH
Notes: === বাংলা স্ক্রিপ্ট (BANGLA) [2:15 - 2:45] ===
এবার সরাসরি আমাদের সিস্টেমের ভেরিফিকেশন দেখে নেওয়া যাক। অফিসিয়াল ১০টি রেফারেন্স স্যাম্পল কেসের ওপর টেস্ট চালিয়ে আমরা দেখতে পাচ্ছি: প্রতিটি অপারেটর ডিরেক্টিভ ১০০% প্রিসিশন নিয়ে এক্সট্র্যাক্ট হয়েছে। সলভার প্রতিটি ফিজিক্যাল কনস্ট্রেইন্ট সফলভাবে বজায় রেখেছে, এবং আমাদের অপটিমাইজারের মোট খরচ অফিসিয়াল রেফারেন্স ফলাফলের সাথে প্রতিটি কেসেই ঠিক ০.০০০০ টাকা (0.0000 BDT) পার্থক্যে নিখুঁতভাবে মিলে গেছে! পাশাপাশি, pytest tests/test_adversarial.py রান করলে আমাদের ৯১টি টেস্টের সবকটিই গ্রিন পাস দেখায়, যা প্রমাণ করে সিস্টেমের অটুট নির্ভুলতা।
=== ENGLISH SCRIPT [2:15 - 2:45] ===
Here is the live verification against the 10 official reference samples. GridWise achieved 100% directive extraction precision and exactly 0.0000 BDT cost difference across all test cases. In addition, our 91 adversarial tests pass with zero exceptions.

## Slide 6
Production Readiness & Hackathon Deliverables
100% compliant with Page 11 Pre-Submit Checklist & Deployment Guidelines.
Deployment & Architecture Highlights
✔ Live Cloud API
Deployed on Railway: https://gridwise-energy-optimizer-production.up.railway.app
✔ Docker Container
Multi-stage lean image on GHCR (ghcr.io/happinessisreal/gridwise-optimizer:latest)
✔ Security Compliance
Non-root user (appuser:10001), zero secrets committed, read-only FS safe
✔ Local Reproducibility
Single-command startup via docker-compose up or uvicorn app.main:app
✔ Zero-Downtime Fallback
Graceful offline regex fallback guarantees service uptime even without LLM keys
Page 11 Pre-Submit Checklist
☑ POST /optimize-energy returns 200 with complete 24h schedule
☑ GET /health returns 200 OK for platform liveness checks
☑ End-of-day battery energy exactly equals initial energy (E24 == E0)
☑ Malformed payloads rejected fast with HTTP 400 Bad Request
☑ All 91 adversarial edge cases pass with zero crashes
☑ README.md contains copy-paste local quickstart & env var guide
☑ Repository remains private during hackathon, public after deadline
☑ 3-minute presentation video recorded within 180s ceiling
Notes: === বাংলা স্ক্রিপ্ট (BANGLA) [2:45 - 3:00] ===
GridWise সম্পূর্ণ প্রোডাকশন-রেডি। এটি লাইভ ক্লাউডে ডেপ্লয় করা হয়েছে, রয়েছে গিটহাব প্যাকেজে নন-রুট মাল্টি-স্টেজ ডকার কন্টেইনার এবং কোডবেসে কোনো হার্ডকোডেড ক্রেডেনশিয়াল নেই। পেজ ১১-এর প্রি-সাবমিট চেকলিস্টের ১০টি আইটেমই সম্পূর্ণ সবুজ। বুদ্ধিদীপ্ত ভাষা অনুধাবন এবং নিখুঁত গাণিতিক অপটিমাইজেশনের মেলবন্ধনই হলো GridWise। ধন্যবাদ BUP CSE Fest এবং Poridhi.io-কে!
=== ENGLISH SCRIPT [2:45 - 3:00] ===
In conclusion, GridWise is fully production-ready, passing every single pre-submit criterion with a live cloud API, GHCR Docker container, and 100% benchmark accuracy. Thank you to the BUP CSE Fest committee and Poridhi.io!